## Read me
PostMan module workbook
Fill any sheet you have data for and leave the rest empty.
Import reads only the sheets that have rows, so partial workbooks are safe.
Do not rename a sheet or a header - those are what the importer matches on.
Re-importing replaces that module; it does not duplicate rows.
Sheet | Module | Columns
Bills | Electricity bills | Month ¦ Contract demand kVA ¦ Actual MD kVA ¦ Billing demand kVA ¦ kWh ¦ kVAh ¦ Power factor ¦ TOD night kWh ¦ TOD peak kWh ¦ Net payable Rs
Baseline Electricity | Electricity baseline | Month ¦ Units kWh ¦ Cost Rs ¦ Production
Baseline Thermal | Thermal baseline | Month ¦ Quantity ¦ Cost Rs ¦ Production
Baseline Water | Water baseline | Month ¦ Quantity m3 ¦ Cost Rs ¦ Production
PCC Loads | PCC panel loads | Name of machine ¦ Voltage ¦ Current ¦ kW ¦ kVAr ¦ kVA ¦ PF ¦ %V THD ¦ %I THD
Motor Loads | Motor load study | Name ¦ Rated kW ¦ Starter ¦ Frequency Hz ¦ Voltage ¦ Current ¦ kW ¦ kVAr ¦ kVA ¦ PF
APFC | APFC stages | Stage ¦ Rated kVAr ¦ Voltage ¦ I-R ¦ I-Y ¦ I-B ¦ Remark
Compressors | Air compressors | Machine tag ¦ Make / model ¦ Type ¦ Year ¦ Rated capacity ¦ Capacity unit ¦ Rated pressure bar ¦ Rated kW ¦ Motor efficiency % ¦ Test type ¦ FAD suction area m2 ¦ FAD avg velocity m/s ¦ Pump-up P1 bar ¦ Pump-up P2 bar ¦ Pump-up time sec ¦ Receiver volume m3 ¦ Measured kW ¦ Running pressure bar ¦ Load hours ¦ Unload hours ¦ Hours per day ¦ Observation
Cooling Towers | Cooling towers | Cooling tower ¦ Rated TR ¦ Hot water in C ¦ Cold water out C ¦ Wet bulb C ¦ Flow m3/hr ¦ Fan kW ¦ Observation
Chiller Readings | Chiller readings | Time ¦ Flow m3/hr ¦ Evap in C ¦ Evap out C ¦ Power kW
Pumps | Pumping system | Pump ¦ Make ¦ Rated kW ¦ Flow m3/hr ¦ Head m ¦ Motor input kW ¦ Motor efficiency % ¦ Observation
Boiler Spec | Boiler specification | Parameter ¦ Value
TFH Spec | Thermic fluid heater specification | Parameter ¦ Value
Lux | Lux measurement | S.N. ¦ Location ¦ Area m2 ¦ Average lux ¦ Connected load W ¦ Target lux/W/m2
Solar | Solar generation | Month ¦ Generation kWh ¦ Irradiance kWh/m2
Earth Pits | Earth loop resistance | Earth pit / location ¦ Resistance ohm ¦ Limit ohm
Instruments | Instruments used | S.N. ¦ Instrument ¦ Make ¦ Model ¦ Qty ¦ Used
Plant Team | Plant team | S.N. ¦ Name ¦ Designation
Products | Products | Product ¦ Capacity ¦ Unit
SOP | Guidelines / SOP | Area ¦ Guideline
Ledger | Recommendation ledger | Module ¦ Type ¦ Priority ¦ Status ¦ Action by ¦ Observation ¦ Recommendation ¦ Annual consumption ¦ Unit ¦ Annual saving ¦ Monetary saving Rs ¦ Investment Rs ¦ CO2 tCO2e ¦ Auto key ¦ Locked
Jet Data | Jet machines | Exported by JET-Eff. 76 columns, imported in full.
Company Profile | Jet cost parameters | insulationCost ¦ pumpInvestmentCost ¦ trapReplacementCost ¦ fuelCost ¦ unitRate ¦ evaporationRatio

## Bills
Month | Contract demand kVA | Actual MD kVA | Billing demand kVA | kWh | kVAh | Power factor | TOD night kWh | TOD peak kWh | Net payable Rs

## Baseline Electricity
Month | Units kWh | Cost Rs | Production

## Baseline Thermal
Month | Quantity | Cost Rs | Production

## Baseline Water
Month | Quantity m3 | Cost Rs | Production

## PCC Loads
Name of machine | Voltage | Current | kW | kVAr | kVA | PF | %V THD | %I THD

## Motor Loads
Name | Rated kW | Starter | Frequency Hz | Voltage | Current | kW | kVAr | kVA | PF

## APFC
Stage | Rated kVAr | Voltage | I-R | I-Y | I-B | Remark

## Compressors
Machine tag | Make / model | Type | Year | Rated capacity | Capacity unit | Rated pressure bar | Rated kW | Motor efficiency % | Test type | FAD suction area m2 | FAD avg velocity m/s | Pump-up P1 bar | Pump-up P2 bar | Pump-up time sec | Receiver volume m3 | Measured kW | Running pressure bar | Load hours | Unload hours | Hours per day | Observation

## Cooling Towers
Cooling tower | Rated TR | Hot water in C | Cold water out C | Wet bulb C | Flow m3/hr | Fan kW | Observation

## Chiller Readings
Time | Flow m3/hr | Evap in C | Evap out C | Power kW

## Pumps
Pump | Make | Rated kW | Flow m3/hr | Head m | Motor input kW | Motor efficiency % | Observation

## Boiler Spec
Parameter | Value

## TFH Spec
Parameter | Value

## Lux
S.N. | Location | Area m2 | Average lux | Connected load W | Target lux/W/m2

## Solar
Month | Generation kWh | Irradiance kWh/m2

## Earth Pits
Earth pit / location | Resistance ohm | Limit ohm

## Instruments
S.N. | Instrument | Make | Model | Qty | Used

## Plant Team
S.N. | Name | Designation

## Products
Product | Capacity | Unit

## SOP
Area | Guideline

## Ledger
Module | Type | Priority | Status | Action by | Observation | Recommendation | Annual consumption | Unit | Annual saving | Monetary saving Rs | Investment Rs | CO2 tCO2e | Auto key | Locked